## Slide 1: 10.1_Application Electronics
Computer Vision
PDS
SDN
NFV
https://www.youtube.com/@AmelOline/videos
https://github.com/siagianp
https://github.com/amelcharolinesgn2/IoT_simulator-mqtt-NodeRed
https://github.com/amelcharolinesgn2/Cloud-Infrastructures
https://github.com/amelcharolinesgn2/ClouD-Infrastructure-SISKA-2025
Notes: http://www.sophphx.caltech.edu/Physics_5/Experiment_6.pdf

## Slide 2: What is a Apps Electronics ?
http://www.sophphx.caltech.edu/Physics_5/Experiment_6.pdf
https://github.com/kubi48/TransistorTester-documentation/tree/main/Hardware

## Slide 3: Rangkaian Power Supply
power suplay berfungsi sebagai sumber tegangan DC untuk mengisi ulang daya pada baterai untuk menyuplai tegangan keseluruh rangkaian.
Rangkaian ini bersumber dari tegangan 220V AC yang masuk kedalam trafo step down untuk diturunkan dari 220V AC menjadi +12V AC dengan fuse sebagai pengaman pada saat rangkaian mengalami short circuit. Lalu 12V AC disearahkan oleh dioda bridge (bridge rectifier) menjadi tegangan DC. Untuk mengurangi ripple pada tegangan output dioda bridge, maka ditambahkan kapasitor sebagai filter. Tegangan DC hasil filter oleh kapasitor lalu masuk ke IC regulator LM317 dan variable resistor berfungsi untuk mengatur tegangan yang dibutuhkan untuk mengisi baterai serta menstabilkan tegangan. Tegangan yang diatur sekitar 9,1V DC output IC regulator LM317 untuk mengecas baterai 8,4V DC. Perencanaan tegangan yang keluar dari LM3 17 dengan nilai minimal 1,25 V dan nilai maksimal 37 V.
IC adjustable LM317
Vout
=2951,6 ohm

## Slide 4
Baterai yang digunakan merupakan baterai jenis lithium polimer yang disusun dari 2 buah cell dengan tegangan maksimal 4,2V untuk tiap cell dan kapasitas baterai adalah 1100mAh. Yang artinya, baterai dapat mengalirkan arus sebesar 1100mAh dalam waktu 1 jam. Dengan kata lain energinya akan habis jika diberi beban 1100mA. Beban arus seluruh rangkaian alat
bernilai 146,9mA. Secara teori, hasil perhitungan waktu habis baterai yaitu:
Kapasitas baterai :
Waktu habis
dioda agar baterai tidak mengalami tegangan balik yang menyebabkan baterai kehilangan daya. Pada rangkaian charger ini, terdapat indikator pengisian baterai menggunakan LED. Indikator pengisian baterai memanfaatkan adanya arus pada proses pengisian baterai. Arus mengalir dari potensial tinggi ke potensial rendah. Ketika terdapat arus pada saat proses pengisian baterai, maka di R6 akan terdapat arus. Jika terdapat arus dan hambatan resisitor, maka sesuai dengan hukum ohm akan ada tegangan sesuai dengan besar arus yang mengalir. Tegangan ini yang digunakan untuk membuat transistor C945 yang berfungsi sebagai saklar otomatis untuk bekerja menghidupkan LED sebagai indikator alat pada saat proses pengisian berlangsung. Jika arus input baterai sama dengan arus baterai, maka proses pengisian berada pada posisi seimbang atau tidak ada arus yang mengalir dan LED akan mati.
Pembagi tegangan:
Vout

## Slide 5
Fuse:
Ps = Voutx Itrafo= 12v AC . 1A
1 Fuse:
=0,05 A
Notes:
Pp = Daya Primer
Ps = Daya Sekunder
Dengan perhitungan diatas maka fuse yang seharunya di pakai yaitu sebesar 0,05 A.
Sensor Photodioda
Photodioda sebagai sensor, LED sebagai cahaya yang menembus film dan IC LM358 sebagai buffer pada rangkaian. Sensor photodioda dioperasikan bias mundur (reverse bias). semakin besar intensitas cahaya yang diterima oleh sensor maka tegangan output akan semakin kecil dan semakin sedikit intensitas cahaya yang diterima oleh sensor maka tegangan output akan semakin bertambah. Pada saat film di letakkan diantara LED dan photodioda, photodioda akan menghasilkan output berupa tegangan sesuai dengan intensitas cahaya film yang di letakkan. Tegangan yang dihasilkan oleh sensor akan masuk ke rangkaian IC LM358 yang berfungsi sebagai rangkaian buffer atau rangkaian penyangga yaitu Vout=Vin. Tegangan menghasilkan penguatan = 1, dan arus diperbesar agar pembacaan oleh sensor lebih stabil saat masuk ke mikrokontroler.

## Slide 6: Aplikasi 1 : Densito meter
Notes: #include <Wire.h>
#include <LiquidCrystal_I2C.h>
LiquidCrystal_12C lcd(0x27,20,4); // set the LCD address to 0x27 for a 20 chars and
4 line display
int batt=A0, nilai_batt, persen_batt, nilai_persen_batt;//buzzer dan sensor baterai
int nilai_densito, nilai_persen_densito;//variabel sensor densito
const float densito = A1;//sensor densitometer
float nilai_sensor, m_densito, o_densito,persen_densito;
int buttonStart = 3; // Start button
int buttoncal = 4; // Start button kalibrasi
float m_batt, o batt, voltage;
float battpenuh, tegangan;
int buzz = 8;
int mode;
int run_nada,sampling, count, counter,counters;
boolean status_cal,status_baca,tanda;
// Call the function baterai
byte smiley[8] = {
0b00001110,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00011111
};
byte smiley1[8] = {
0b00001110,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00011111,
0b00011111
};
byte smiley2[8] = {
0b00001110,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00011111,
0b00011111,
0b00011111
};
byte smiley3[8] = {
0b00001110,
0b00010001,
OWHS
0b00010001,
0b00010001,
0b00011111,
0b00011111,
0b00011111,
0b00011111
};
byte smiley4[8] = {
0b00001110,
0b00010001,
0b00010001,
0b00011111,
0b00011111,
0b00011111,
0b00011111,
0b00011111
};
byte smiley5[8] = {
0b00001110,
0b00010001,
0b00011111,
0b00011111,
0b00011111,
0b00011111, PUS
Ob00011111,
0b00011111
};
byte smiley6[8] = {
0b00001110,
0b00011111,
0b00011111,
0b00011111,
0b00011111,
0b00011111,
0b00011111,
0b00011111
};
byte smiley7[8] = {
B00000,
B10001,
B00000,
B00000,
B10001,
B01110,
B00000,
3;
void nadaО{
if(run_nada==1)
{
digitalWrite(buzz, HIGH);
delay(500);
digitalWrite(buzz, LOW);
delay(500);
digitalWrite(buzz,HIGH);
delay(500);
digitalWrite(buzz,LOW);
delay(500);
else
if(run_nada==0)
{
digitalWrite(buzz, HIGH);
delay(500);
digitalWrite(buzz,LOW);
delay(500);
else
run nada=0;
//battery);
void battery()
battpenuh=1024/5*3.8;
nilai_batt-analogRead(batt);
m batt=0.85470085;
o_batt=-615.3846;
persen_batt=(nilai_batt*m_batt)+o_batt;
//nilai batt=740;
tegangan=nilai_batt/204.6;
tegangan-tegangan*2;
lcd.setCursor(18,0);
Icd.print("%");
if(nilai_batt>=836){persen_batt=100;}
if(persen_batt<100){lcd.setCursor(17,0);lcd.print(');}
lcd.setCursor(15,0);
lcd.print(persen_batt, 1);
//lcd.setCursor(10,3);
//lcd.print(nilai_batt);
Icd.setCursor(8,0);
lcd.print(tegangan,2);
if((nilai_batt>835)&&(nilai_batt<=1023)){
lcd.createChar(0, smiley6);
lcd.setCursor(19,0);
lcd.write(byte(0));
else
if((nilai_batt>780)&&(nilai_batt<=835)){
lcd.createChar(0, smiley5);
lcd.setCursor(19,0);
lcd.write(byte(0));
else
if((nilai_batt>740)&&(nilai_batt<=780)){
lcd.createChar(0, smiley4);
lcd.setCursor(19,0);
lcd.write(byte(0));
else
if((nilai_batt>700)&&(nilai_batt<=740)){
lcd.createChar(0, smiley3);
lcd.setCursor(19,0);
lcd.write(byte(0));
else
if((nilai batt>660)&&(nilai batt<=700)){|
lcd.createChar(0, smiley2);
lcd.setCursor(19,0);
lcd.write(byte(0));
}else
if((nilai batt>620)&&(nilai_batt<=660)){|
lcd.createChar(0, smiley1);
lcd.setCursor(19,0);
lcd.write(byte(0));
}else
if((nilai_batt>600)&&(nilai_batt<=620)){
lcd.createChar(0, smiley);
Icd.setCursor(19,0);
lcd.write(byte(0));
lcd.setCursor(18,0);
Icd.print("!");
nada);
else
delay(20);
}
void idel(O
}
lcd.setCursor(0,0);
lcd.print("NS= | V ");
Icd.setCursor(0,1);
Icd.print(" ||VD= ");
lcd.setCursor(0,2);
Icd.print("N.Densito=
lcd.setCursor(0,3);
||");
lcd.print("==Posisikan Sensor==");
delay(1000);
void tampil_judul()
}
lcd.clear();
lcd.setCursor(0,0);
Icd.print(" Rancang Bangun ");
lcd.setCursor(0,1);
lcd.print(" Densitometer ");
lcd.setCursor(0,2);
lcd.print(" Berbasis ");
lcd.setCursor(0,3);
Icd.print(" Arduino UNO ");
delay(2000);
lcd.setCursor(0,0);
lcd.print(" Ginalang Sindhu A ");
lcd.setCursor(0,1);
lcd.print(" Nim : 1904053 ");
lcd.setCursor(0,2);
Icd.print(" Univ. WIDYA HUSADA ");
lcd.setCursor(0,3);
lcd.print("Teknik Elektromedik ");
delay(2000);
void
{
baca sensor densito_cal()
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
lcd.setCursor(3,0);
lcd.print(" ");
lcd.setCursor(3,0);
lcd.print(nilai_densito);
Icd.setCursor(14,1);
lcd.print(" ");
lcd.setCursor(14,1);
lcd.print(voltage);
delay(500);
void baca_kategori_densito_kv60()//kalibrasi nilai kadar densitometri seting kalibrasi
kv60.
delay(200);
if((nilai_densito>25)&&(nilai_densito<=28))
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage + 0.15;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>28)&&(nilai_densito<=30))
//lcd.setCursor(6,1);
//lcd.print("(2)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.19;
lcd.setCursor(10,2);
lcd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>30)&&(nilai_densito<=31))
{
//lcd.setCursor(6,1);
//lcd.print("(3)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.30;
lcd.setCursor(10,2);
Icd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>31)&&(nilai_densito<=33))
}
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.44;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>33)&&(nilai_densito<=35))
{
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.43;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>35)&&(nilai_densito<=37))
{
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.42;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>39)&&(nilai_densito<=41))
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.58;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>41)&&(nilai_densito<=44))
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.57;
Icd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}els
if((nilai_densito>44)&&(nilai_densito<=46))
{
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.56;
1cd.setCursor(10,2);
lcd.print(" ");
Icd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>304)&&(nilai_densito<=310))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.48;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>310)&&(nilai_densito<=314))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.52;
lcd.setCursor(10,2);
lcd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>314)&&(nilai_densito<=316))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.53;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>316)&&(nilai_densito<=318))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.54;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>318)&&(nilai_densito<=320))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.55;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>320)&&(nilai_densito<=322))
}
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.56;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>322)&&(nilai_densito<=324))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.57;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>324)&&(nilai_densito<=326))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito-analogRead(densito)
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.58;
lcd.setCursor(10,2);
lcd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>326)&&(nilai_densito<=328))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.59;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>328)&&(nilai_densito<=330))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.60;
lcd.setCursor(10,2);
lcd.print(" ");
Icd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>330)&&(nilai_densito<=334))
}
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.61;
1cd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>678)&&(nilai_densito<=685))
{
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.08;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>685)&&(nilai_densito<=691))
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.11;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>691)&&(nilai_densito<=697))
}
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.14;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>697)&&(nilai_densito<=703))
}
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.17;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>703)&&(nilai_densito<=709))
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.20;
lcd.setCursor(10,2);
lcd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>824)&&(nilai_densito<=830))
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.52;
lcd.setCursor(10,2);
lcd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>830)&&(nilai_densito<=836))
{
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.55;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>836)&&(nilai_densito<=838))
{
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.57;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>838)&&(nilai_densito<=840))
}
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.58;
1cd.setCursor(10,2);
lcd.print(" ");
Icd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>840)&&(nilai_densito<=842))
}
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.59;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>842)&&(nilai_densito<=844))
}
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.60;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>844)&&(nilai_densito<=846))
}
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.61;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>877)&&(nilai_densito<=883))
}
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.61;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>883)&&(nilai_densito<=889))
{
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.64;
1cd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>889)&&(nilai_densito<=895))
{
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.67;
lcd.setCursor(10,2);
lcd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>895)&&(nilai_densito<=901))
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.70;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>959)&&(nilai_densito<=961))
{
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.80;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>961)&&(nilai_densito<=965))
{
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.81;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>975)&&(nilai_densito<=979))
}
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.73;
1cd.setCursor(10,2);
Icd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>979)&&(nilai_densito<=983))
{
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.78;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
delay(200);
void baca_kategori_densito_kv80()//kalibrasi nilai kadar densitometri seting kalibrasi
kv80.....
delay(200);
if((nilai_densito>574)&&(nilai_densito<=580))
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.68;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>580)&&(nilai_densito<=584))
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.71;
1cd.setCursor(10,2);
lcd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>584)&&(nilai_densito<=588))
}
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.72;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>588)&&(nilai_densito<=594))
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.75;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>594)&&(nilai_densito<=600))
{
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.78;
lcd.setCursor(10,2);
lcd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>600)&&(nilai_densito<=606))
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.81;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>625)&&(nilai_densito<=631))
{
//lcd.setCursor(6,1);
//lcd.print("(2)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.88;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
}else
if((nilai_densito>631)&&(nilai_densito<=637))
{
//lcd.setCursor(6,1);
//lcd.print("(2)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.91;
1cd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>637)&&(nilai_densito<=644))
{
//lcd.setCursor(6,1);
//lcd.print("(2)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.94;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>644)&&(nilai_densito<=650))
}
//lcd.setCursor(6,1);
//Icd.print("(2)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.97;
Icd.setCursor(10,2);
lcd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>650)&&(nilai_densito<=656))
{
//lcd.setCursor(6,1);
//lcd.print("(2)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.00;
lcd.setCursor(10,2);
lcd.print(" ");|
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>732)&&(nilai_densito<=738))
{
//lcd.setCursor(6,1);
//lcd.print("(3)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.30;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>738)&&(nilai_densito<=744))
{
//lcd.setCursor(6,1);
//lcd.print("(3)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.33;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>744)&&(nilai_densito<=750))
{
//lcd.setCursor(6,1);
//lcd.print("(3)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.36;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>750)&&(nilai_densito<=756))
{
//lcd.setCursor(6,1);
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.39;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
Icd.print(voltage,2);
}else
if((nilai_densito>839)&&(nilai_densito<=842))
}
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.63;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>842)&&(nilai_densito<=846))
}
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.64;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>846)&&(nilai_densito<=850))
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.66;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>850)&&(nilai_densito<=855))
{
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.69;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>855)&&(nilai_densito<=861))
{
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densitoanalogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.71;
lcd.setCursor(10,2);
lcd.print("");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>871)&&(nilai_densito<=877))
}
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.62;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
Else
if((nilai_densito>877)&&(nilai_densito<=883))
{
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.68;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>883)&&(nilai_densito<=889))
{
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.71;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
Belse
if((nilai_densito>889)&&(nilai_densito<=895))
{
//lcd.setCursor(6,1);
//Icd.print("(5)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.74;
Icd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>895)&&(nilai_densito<=901))
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.77;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>926)&&(nilai_densito<=932))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.77;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>932)&&(nilai_densito<=936))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.80;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>936)&&(nilai_densito<=941))
}
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.82;
1cd.setCursor(10,2);
lcd.print("");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>941)&&(nilai_densito<=945))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.84;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>945)&&(nilai_densito<=951))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.86;
lcd.setCursor(10,2);
lcd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>949)&&(nilai_densito<=953))
{
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.78;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>953)&&(nilai_densito<=957))
{
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.79;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>957)&&(nilai_densito<=961))
//lcd.setCursor(6,1); //lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.82;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>961)&&(nilai_densito<=965))
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.84;
1cd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>965)&&(nilai_densito<=968))
{
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.85;
lcd.setCursor(10,2);
Icd.print(" ");
Icd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>961)&&(nilai_densito<=967))
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.79;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>967)&&(nilai_densito<=971))
if((nilai_densito>967)&&(nilai_densito<=971))
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.71;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>971)&&(nilai_densito<=975))
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.73;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>975)&&(nilai_densito<=977))
{
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.75;
Icd.setCursor(10,2);
lcd.print(" ");
Icd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>977)&&(nilai_densito<=982))
{
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.76;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>980)&&(nilai_densito<=986))
}
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.68;
lcd.setCursor(10,2);
lcd.print(" ")
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>986)&&(nilai_densito<=990))
{
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.7;
Icd.setCursor(10,2);
Icd.print("");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>990)&&(nilai_densito<=995))
{}
//lcd.setCursor(6,1)
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.72;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>992)&&(nilai_densito<=994))
{
//lcd.setCursor(6,1);
//Icd.print("(10)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.62;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>994)&&(nilai_densito<=995))
{
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.63;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>995)&&(nilai_densito<=1001))
{
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.64;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
delay(200);
void baca_sensor_densito_proses()
delay(500);
count=15;
while(count>0)
{
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
lcd.setCursor(14,1);
lcd.print(" "); |
lcd.setCursor(14,1);
lcd.print(voltage);
1cd.setCursor(3, 0);
lcd.print(" ");
lcd.setCursor(3, 0);
Icd.print(nilai_densito);
delay(400);
count=count-1;
}
delay(200);
void proses_awal()
sampling=20;
1cd.setCursor(0,3);
while(sampling!=0)
delay(50);
lcd.print('.');
sampling--;
nada();
}
void setup(void)
{
lcd.init(); // initialize the lcd
lcd.init();
// Print a message to the LCD.
lcd.backlight();
pinMode(buzz,OUTPUT);
pinMode(buttonStart, INPUT);
digitalWrite(buttonStart, HIGH)
pinMode(buttoncal, INPUT);
digitalWrite(buttoncal, HIGH);
run nada=1;
nada);
run_nada=0;
tampil_judul();
delay(200);
idel);
delay(200);
void loop(void)
if (digitalRead(button Start) ==LOW)
nada();
counters=counters+1;
counters=counters;
lcd.setCursor(17,2);
lcd.print(counters);
if(counters==1){status_baca=1;counters=counters;}
if(counters=2){status_baca=0;counters=0;counter=0;1cd.setCursor(17,2);lcd.print(c
ounters);idel();}
}
}
if (digital Read(buttoncal) == LOW)
nada);
counter=counter+1;
counter=counter;
lcd.setCursor(17,2);
lcd.print(counter);
if(counter==1){status_cal=1;counter=counter;lcd.setCursor(0,1);lcd.print(" ");}
if(counter==2){mode=1;counter=counter;status_cal=0;lcd.setCursor(0,1);lcd.print("F
Kv60");}
if(counter==3){mode=2;counter=counter; status_cal=0;lcd.setCursor(0,1);lcd.print("F
Kv80");}
if(counter==4){status_cal=0;counter=0;lcd.setCursor(17,2);lcd.print(counter);idel();}
}
if (status_baca==1)
{
}
delay(200);
delay(200);
proses_awal);
//baca_sensor_densito_proses();
baca_sensor_densito_cal();
if(mode==1){baca_kategori_densito_kv600);}
if(mode=2){baca_kategori_densito_kv80(0);}
nadaO;
nada();
status bacа=0;
if (status_cal==1)
}
baca sensor densito_cal();
battery);
delay(10);
}

## Slide 7: Aplikasi 2 : Home Automation Using Arduino
Notes: #include <Wire.h>
#include <LiquidCrystal_I2C.h>
LiquidCrystal_12C lcd(0x27,20,4); // set the LCD address to 0x27 for a 20 chars and
4 line display
int batt=A0, nilai_batt, persen_batt, nilai_persen_batt;//buzzer dan sensor baterai
int nilai_densito, nilai_persen_densito;//variabel sensor densito
const float densito = A1;//sensor densitometer
float nilai_sensor, m_densito, o_densito,persen_densito;
int buttonStart = 3; // Start button
int buttoncal = 4; // Start button kalibrasi
float m_batt, o batt, voltage;
float battpenuh, tegangan;
int buzz = 8;
int mode;
int run_nada,sampling, count, counter,counters;
boolean status_cal,status_baca,tanda;
// Call the function baterai
byte smiley[8] = {
0b00001110,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00011111
};
byte smiley1[8] = {
0b00001110,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00011111,
0b00011111
};
byte smiley2[8] = {
0b00001110,
0b00010001,
0b00010001,
0b00010001,
0b00010001,
0b00011111,
0b00011111,
0b00011111
};
byte smiley3[8] = {
0b00001110,
0b00010001,
OWHS
0b00010001,
0b00010001,
0b00011111,
0b00011111,
0b00011111,
0b00011111
};
byte smiley4[8] = {
0b00001110,
0b00010001,
0b00010001,
0b00011111,
0b00011111,
0b00011111,
0b00011111,
0b00011111
};
byte smiley5[8] = {
0b00001110,
0b00010001,
0b00011111,
0b00011111,
0b00011111,
0b00011111, PUS
Ob00011111,
0b00011111
};
byte smiley6[8] = {
0b00001110,
0b00011111,
0b00011111,
0b00011111,
0b00011111,
0b00011111,
0b00011111,
0b00011111
};
byte smiley7[8] = {
B00000,
B10001,
B00000,
B00000,
B10001,
B01110,
B00000,
3;
void nadaО{
if(run_nada==1)
{
digitalWrite(buzz, HIGH);
delay(500);
digitalWrite(buzz, LOW);
delay(500);
digitalWrite(buzz,HIGH);
delay(500);
digitalWrite(buzz,LOW);
delay(500);
else
if(run_nada==0)
{
digitalWrite(buzz, HIGH);
delay(500);
digitalWrite(buzz,LOW);
delay(500);
else
run nada=0;
//battery);
void battery()
battpenuh=1024/5*3.8;
nilai_batt-analogRead(batt);
m batt=0.85470085;
o_batt=-615.3846;
persen_batt=(nilai_batt*m_batt)+o_batt;
//nilai batt=740;
tegangan=nilai_batt/204.6;
tegangan-tegangan*2;
lcd.setCursor(18,0);
Icd.print("%");
if(nilai_batt>=836){persen_batt=100;}
if(persen_batt<100){lcd.setCursor(17,0);lcd.print(');}
lcd.setCursor(15,0);
lcd.print(persen_batt, 1);
//lcd.setCursor(10,3);
//lcd.print(nilai_batt);
Icd.setCursor(8,0);
lcd.print(tegangan,2);
if((nilai_batt>835)&&(nilai_batt<=1023)){
lcd.createChar(0, smiley6);
lcd.setCursor(19,0);
lcd.write(byte(0));
else
if((nilai_batt>780)&&(nilai_batt<=835)){
lcd.createChar(0, smiley5);
lcd.setCursor(19,0);
lcd.write(byte(0));
else
if((nilai_batt>740)&&(nilai_batt<=780)){
lcd.createChar(0, smiley4);
lcd.setCursor(19,0);
lcd.write(byte(0));
else
if((nilai_batt>700)&&(nilai_batt<=740)){
lcd.createChar(0, smiley3);
lcd.setCursor(19,0);
lcd.write(byte(0));
else
if((nilai batt>660)&&(nilai batt<=700)){|
lcd.createChar(0, smiley2);
lcd.setCursor(19,0);
lcd.write(byte(0));
}else
if((nilai batt>620)&&(nilai_batt<=660)){|
lcd.createChar(0, smiley1);
lcd.setCursor(19,0);
lcd.write(byte(0));
}else
if((nilai_batt>600)&&(nilai_batt<=620)){
lcd.createChar(0, smiley);
Icd.setCursor(19,0);
lcd.write(byte(0));
lcd.setCursor(18,0);
Icd.print("!");
nada);
else
delay(20);
}
void idel(O
}
lcd.setCursor(0,0);
lcd.print("NS= | V ");
Icd.setCursor(0,1);
Icd.print(" ||VD= ");
lcd.setCursor(0,2);
Icd.print("N.Densito=
lcd.setCursor(0,3);
||");
lcd.print("==Posisikan Sensor==");
delay(1000);
void tampil_judul()
}
lcd.clear();
lcd.setCursor(0,0);
Icd.print(" Rancang Bangun ");
lcd.setCursor(0,1);
lcd.print(" Densitometer ");
lcd.setCursor(0,2);
lcd.print(" Berbasis ");
lcd.setCursor(0,3);
Icd.print(" Arduino UNO ");
delay(2000);
lcd.setCursor(0,0);
lcd.print(" Ginalang Sindhu A ");
lcd.setCursor(0,1);
lcd.print(" Nim : 1904053 ");
lcd.setCursor(0,2);
Icd.print(" Univ. WIDYA HUSADA ");
lcd.setCursor(0,3);
lcd.print("Teknik Elektromedik ");
delay(2000);
void
{
baca sensor densito_cal()
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
lcd.setCursor(3,0);
lcd.print(" ");
lcd.setCursor(3,0);
lcd.print(nilai_densito);
Icd.setCursor(14,1);
lcd.print(" ");
lcd.setCursor(14,1);
lcd.print(voltage);
delay(500);
void baca_kategori_densito_kv60()//kalibrasi nilai kadar densitometri seting kalibrasi
kv60.
delay(200);
if((nilai_densito>25)&&(nilai_densito<=28))
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage + 0.15;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>28)&&(nilai_densito<=30))
//lcd.setCursor(6,1);
//lcd.print("(2)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.19;
lcd.setCursor(10,2);
lcd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>30)&&(nilai_densito<=31))
{
//lcd.setCursor(6,1);
//lcd.print("(3)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.30;
lcd.setCursor(10,2);
Icd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>31)&&(nilai_densito<=33))
}
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.44;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>33)&&(nilai_densito<=35))
{
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.43;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>35)&&(nilai_densito<=37))
{
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.42;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>39)&&(nilai_densito<=41))
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.58;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>41)&&(nilai_densito<=44))
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.57;
Icd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}els
if((nilai_densito>44)&&(nilai_densito<=46))
{
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage + 0.56;
1cd.setCursor(10,2);
lcd.print(" ");
Icd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>304)&&(nilai_densito<=310))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.48;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>310)&&(nilai_densito<=314))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.52;
lcd.setCursor(10,2);
lcd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>314)&&(nilai_densito<=316))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.53;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>316)&&(nilai_densito<=318))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.54;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>318)&&(nilai_densito<=320))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.55;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>320)&&(nilai_densito<=322))
}
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.56;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>322)&&(nilai_densito<=324))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.57;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>324)&&(nilai_densito<=326))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito-analogRead(densito)
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.58;
lcd.setCursor(10,2);
lcd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>326)&&(nilai_densito<=328))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.59;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>328)&&(nilai_densito<=330))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.60;
lcd.setCursor(10,2);
lcd.print(" ");
Icd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>330)&&(nilai_densito<=334))
}
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 0.61;
1cd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>678)&&(nilai_densito<=685))
{
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.08;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>685)&&(nilai_densito<=691))
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.11;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>691)&&(nilai_densito<=697))
}
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.14;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>697)&&(nilai_densito<=703))
}
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.17;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>703)&&(nilai_densito<=709))
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.20;
lcd.setCursor(10,2);
lcd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>824)&&(nilai_densito<=830))
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.52;
lcd.setCursor(10,2);
lcd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>830)&&(nilai_densito<=836))
{
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.55;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>836)&&(nilai_densito<=838))
{
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.57;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>838)&&(nilai_densito<=840))
}
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.58;
1cd.setCursor(10,2);
lcd.print(" ");
Icd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>840)&&(nilai_densito<=842))
}
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.59;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>842)&&(nilai_densito<=844))
}
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.60;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>844)&&(nilai_densito<=846))
}
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.61;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>877)&&(nilai_densito<=883))
}
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.61;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>883)&&(nilai_densito<=889))
{
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.64;
1cd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>889)&&(nilai_densito<=895))
{
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.67;
lcd.setCursor(10,2);
lcd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>895)&&(nilai_densito<=901))
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.70;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>959)&&(nilai_densito<=961))
{
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.80;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>961)&&(nilai_densito<=965))
{
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.81;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>975)&&(nilai_densito<=979))
}
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.73;
1cd.setCursor(10,2);
Icd.print("");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>979)&&(nilai_densito<=983))
{
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.78;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
delay(200);
void baca_kategori_densito_kv80()//kalibrasi nilai kadar densitometri seting kalibrasi
kv80.....
delay(200);
if((nilai_densito>574)&&(nilai_densito<=580))
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.68;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>580)&&(nilai_densito<=584))
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.71;
1cd.setCursor(10,2);
lcd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>584)&&(nilai_densito<=588))
}
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.72;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>588)&&(nilai_densito<=594))
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.75;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>594)&&(nilai_densito<=600))
{
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.78;
lcd.setCursor(10,2);
lcd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>600)&&(nilai_densito<=606))
//lcd.setCursor(6,1);
//lcd.print("(1)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.81;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>625)&&(nilai_densito<=631))
{
//lcd.setCursor(6,1);
//lcd.print("(2)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.88;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
}else
if((nilai_densito>631)&&(nilai_densito<=637))
{
//lcd.setCursor(6,1);
//lcd.print("(2)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.91;
1cd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>637)&&(nilai_densito<=644))
{
//lcd.setCursor(6,1);
//lcd.print("(2)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.94;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>644)&&(nilai_densito<=650))
}
//lcd.setCursor(6,1);
//Icd.print("(2)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 1.97;
Icd.setCursor(10,2);
lcd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>650)&&(nilai_densito<=656))
{
//lcd.setCursor(6,1);
//lcd.print("(2)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.00;
lcd.setCursor(10,2);
lcd.print(" ");|
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>732)&&(nilai_densito<=738))
{
//lcd.setCursor(6,1);
//lcd.print("(3)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.30;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>738)&&(nilai_densito<=744))
{
//lcd.setCursor(6,1);
//lcd.print("(3)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.33;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>744)&&(nilai_densito<=750))
{
//lcd.setCursor(6,1);
//lcd.print("(3)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.36;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>750)&&(nilai_densito<=756))
{
//lcd.setCursor(6,1);
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.39;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
Icd.print(voltage,2);
}else
if((nilai_densito>839)&&(nilai_densito<=842))
}
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.63;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>842)&&(nilai_densito<=846))
}
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.64;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>846)&&(nilai_densito<=850))
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.66;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>850)&&(nilai_densito<=855))
{
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.69;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>855)&&(nilai_densito<=861))
{
//lcd.setCursor(6,1);
//lcd.print("(4)");
//delay(200);
nilai_densitoanalogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.71;
lcd.setCursor(10,2);
lcd.print("");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>871)&&(nilai_densito<=877))
}
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.62;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
Else
if((nilai_densito>877)&&(nilai_densito<=883))
{
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.68;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>883)&&(nilai_densito<=889))
{
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.71;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
Belse
if((nilai_densito>889)&&(nilai_densito<=895))
{
//lcd.setCursor(6,1);
//Icd.print("(5)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.74;
Icd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>895)&&(nilai_densito<=901))
//lcd.setCursor(6,1);
//lcd.print("(5)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.77;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>926)&&(nilai_densito<=932))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.77;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>932)&&(nilai_densito<=936))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.80;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>936)&&(nilai_densito<=941))
}
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.82;
1cd.setCursor(10,2);
lcd.print("");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>941)&&(nilai_densito<=945))
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.84;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>945)&&(nilai_densito<=951))
{
//lcd.setCursor(6,1);
//lcd.print("(6)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.86;
lcd.setCursor(10,2);
lcd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>949)&&(nilai_densito<=953))
{
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.78;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>953)&&(nilai_densito<=957))
{
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.79;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>957)&&(nilai_densito<=961))
//lcd.setCursor(6,1); //lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.82;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>961)&&(nilai_densito<=965))
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.84;
1cd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>965)&&(nilai_densito<=968))
{
//lcd.setCursor(6,1);
//lcd.print("(7)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.85;
lcd.setCursor(10,2);
Icd.print(" ");
Icd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>961)&&(nilai_densito<=967))
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.79;
lcd.setCursor(10,2);
Icd.print(" ");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>967)&&(nilai_densito<=971))
if((nilai_densito>967)&&(nilai_densito<=971))
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.71;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>971)&&(nilai_densito<=975))
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.73;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>975)&&(nilai_densito<=977))
{
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.75;
Icd.setCursor(10,2);
lcd.print(" ");
Icd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>977)&&(nilai_densito<=982))
{
//lcd.setCursor(6,1);
//lcd.print("(8)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.76;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>980)&&(nilai_densito<=986))
}
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.68;
lcd.setCursor(10,2);
lcd.print(" ")
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>986)&&(nilai_densito<=990))
{
//lcd.setCursor(6,1);
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.7;
Icd.setCursor(10,2);
Icd.print("");
1cd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>990)&&(nilai_densito<=995))
{}
//lcd.setCursor(6,1)
//lcd.print("(9)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.72;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>992)&&(nilai_densito<=994))
{
//lcd.setCursor(6,1);
//Icd.print("(10)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.62;
lcd.setCursor(10,2);
Icd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
}else
if((nilai_densito>994)&&(nilai_densito<=995))
{
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito-analogRead(densito);
voltage = nilai densito*5.0/1024;
voltage = voltage - 2.63;
1cd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
if((nilai_densito>995)&&(nilai_densito<=1001))
{
//lcd.setCursor(6,1);
//lcd.print("(10)");
//delay(200);
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
voltage = voltage - 2.64;
lcd.setCursor(10,2);
lcd.print(" ");
lcd.setCursor(10,2);
lcd.print(voltage,2);
else
delay(200);
void baca_sensor_densito_proses()
delay(500);
count=15;
while(count>0)
{
nilai_densito=analogRead(densito);
voltage = nilai_densito*5.0/1024;
lcd.setCursor(14,1);
lcd.print(" "); |
lcd.setCursor(14,1);
lcd.print(voltage);
1cd.setCursor(3, 0);
lcd.print(" ");
lcd.setCursor(3, 0);
Icd.print(nilai_densito);
delay(400);
count=count-1;
}
delay(200);
void proses_awal()
sampling=20;
1cd.setCursor(0,3);
while(sampling!=0)
delay(50);
lcd.print('.');
sampling--;
nada();
}
void setup(void)
{
lcd.init(); // initialize the lcd
lcd.init();
// Print a message to the LCD.
lcd.backlight();
pinMode(buzz,OUTPUT);
pinMode(buttonStart, INPUT);
digitalWrite(buttonStart, HIGH)
pinMode(buttoncal, INPUT);
digitalWrite(buttoncal, HIGH);
run nada=1;
nada);
run_nada=0;
tampil_judul();
delay(200);
idel);
delay(200);
void loop(void)
if (digitalRead(button Start) ==LOW)
nada();
counters=counters+1;
counters=counters;
lcd.setCursor(17,2);
lcd.print(counters);
if(counters==1){status_baca=1;counters=counters;}
if(counters=2){status_baca=0;counters=0;counter=0;1cd.setCursor(17,2);lcd.print(c
ounters);idel();}
}
}
if (digital Read(buttoncal) == LOW)
nada);
counter=counter+1;
counter=counter;
lcd.setCursor(17,2);
lcd.print(counter);
if(counter==1){status_cal=1;counter=counter;lcd.setCursor(0,1);lcd.print(" ");}
if(counter==2){mode=1;counter=counter;status_cal=0;lcd.setCursor(0,1);lcd.print("F
Kv60");}
if(counter==3){mode=2;counter=counter; status_cal=0;lcd.setCursor(0,1);lcd.print("F
Kv80");}
if(counter==4){status_cal=0;counter=0;lcd.setCursor(17,2);lcd.print(counter);idel();}
}
if (status_baca==1)
{
}
delay(200);
delay(200);
proses_awal);
//baca_sensor_densito_proses();
baca_sensor_densito_cal();
if(mode==1){baca_kategori_densito_kv600);}
if(mode=2){baca_kategori_densito_kv80(0);}
nadaO;
nada();
status bacа=0;
if (status_cal==1)
}
baca sensor densito_cal();
battery);
delay(10);
}

## Slide 8: What is Home Automation?
Home automation involves introducing a degree of computerized or automatic control to certain electrical and electronics system in a building.
These lighting, temperature control, etc.., this paper demonstrate a simple home automation system which contains a remote mobile host controller and several client module (home appliances).
The client modules communicate with host controllers through a wireless device such as a Bluetooth enabled mobile phone, in this case, an android based smart phone.

## Slide 9: What are the benefits of an automated home?
Home automation keeps your home secure by being able to look your front door from your smart phone or tablet and do not be worry. because you misplaced your keys inside home.
Home automation saves your money.

## Slide 10: What are the benefits of an automated home?
Home automation keeps your family comfortable. .

## Slide 11: What are the benefits of an automated home?
control over your home from any location .
The greatest benefits of home automation system are added of sense of security and peace of mind.

## Slide 12: Disadvantages of home automation:
Equipment and installation costs.
System Compatibility.
Human errors.

## Slide 13: Technology used:
  Arduino Uno
  The main piece in our project is an arduino ATmega328 kit attached by GPRS/GSM Shield.

## Slide 14: CONTENT:
Introduction
Components used
Bluetooth module
Relays
Screen shots
Implementation
Android ADK
Software design

## Slide 15: CONTENT:
Block diagram and hardware design .
Home automation.
Conclusion.

## Slide 16: INTRODUCTION
There is an increasing demand for smart homes, where appliances react automatically to changing environmental conditions and can be easily controlled through one common device.
This paper presents a possible solution whereby the user controls devices by employing a central Field Programmable Gate Array (FPGA), where control is communicated to the FPGA from a mobile phone through its Bluetooth interface.

## Slide 17: COMPONETNS USED:
The Main components used :
1) Bluetooth module .
2) Relay.

## Slide 19: Relay :
A relay is an electrically operated switch.
Relays are used where it is necessary to control a circuit by a low-power signal.
Relays protect electrical circuits from overload or faults.

## Slide 20: Relay working :

## Slide 21: Interface :

## Slide 22: PROTUES Connection(circuit diagram )

## Slide 23: Working Explanation:
First we need to download and install the Bluetooth Terminal App in our Android Phone from the Play Store and then pair it with Bluetooth Module HC05 like we normally pair 2 bluetooth devices. .
Now we have Bluetooth Terminal App installed in our Android phone through which we can send data to Bluetooth ModuleHC05. HC05 Bluetooth Module is connected to Arduino Mega to serially receive the data sent by Bluetooth terminal App through Android Smart Phone. A 16x2LCD is used to display the On and Off status of Electronic Appliances. And is used 8 Relay which are directly connected to 7 Buls.

## Slide 24: Working Exeplanation:

## Slide 25: Bluetooth App :
Download and install Bluetooth Controller.
Turned ON mobile Bluetooth.
Now open Bluetooth controller app.
Press scan.
Select desired (BluetoothModule HC-05).
Now set keys by pressing set button on screen.

## Slide 26: Screen shots:

## Slide 27: Conclusion :
Home Automation is undeniably a resource which can make a home environment automated. People can control their electrical devices via these Home Automation devices and set up controlling actions through Mobile.
In future this product may have high potential for marketing.

## Slide 28: Project devices:

## Slide 29
Thank You !!
https://www.youtube.com/@AmelOline/videos
https://github.com/siagianp
https://github.com/amelcharolinesgn2/IoT_simulator-mqtt-NodeRed
https://github.com/amelcharolinesgn2/Cloud-Infrastructures
https://github.com/amelcharolinesgn2/ClouD-Infrastructure-SISKA-2025
Computer Vision
PDS
SDN
NFV